{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["0% WC"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"0% WC","index":0,"n_rows":137,"n_cols":11,"rows_kept":137,"cut":false,"hidden":false,"merged":[[0,2,0,4],[0,5,0,7],[0,8,0,10]]}
[null,"Nominal","Reference Measurements",null,null,"Coriolis Meter Measurements",null,null,"Coriolis Meter Errors"]
[null,"Mass Flow","Mass Flow","Density","GVF ","Mass Flow","Density","Density Drop","Mass Flow","Density","Density Drop"]
[null,"[kg/s]","[kg/s]"," [kg/m3]","[%]","[kg/s]"," [kg/m3]","[%]","[%]","[%]","[%]"]
[null,7.45,7.4496330090000002,851.65153279763967,0,7.4496330090000002,851.65153279763967,0,0,0,{"$f":"E4-H4","v":0}]
[null,7.45,7.4903497320000003,829.9242167455493,2.5585862690000001,7.4693960064590019,840.98451009535904,1.2502720869999999,-0.28956351899999999,1.332687145,1.3083141820000002]
[null,7.45,7.4280257790000004,798.16221313725089,6.3019587420000001,7.2120787019335513,788.8836055287851,7.3669453650000003,-2.9326107210000001,-1.1624964769999999,-1.0649866230000002]
[null,7.45,7.3576617515000002,775.35309461277632,8.9928392592497755,7.1788053970695991,719.17454364200842,15.5532402875,-2.4696642239999997,-7.2455441734999999,-6.5604010282502241]
[null,7.45,7.2872977240000001,749.34063306385781,12.0620785,7.1451313447388936,649.46407836670198,23.73953521,-2.0067177269999998,-13.32859187,-11.67745671]
[null,7.45,7.175302318,704.4494702686801,17.357905769999999,6.8077023663196199,565.44855429944698,33.603791289999997,-5.210192803,-19.73185045,-16.245885519999998]
[null,7.45,7.0380597070000004,658.79152739112862,22.748245699999998,6.4366745028053165,496.79798509268278,41.666210579999998,-8.666819254,-24.58949995,-18.91796488]
[null,7.45,6.9322698950000001,617.43467465572314,27.63319568,6.1622396140439051,436.55984082002146,48.74008104,-11.26859359,-29.294570140000001,-21.10688536]
[null,7.45,6.9197682980000002,608.4548759061081,28.692548840000001,6.0510226612342546,426.15317005423572,49.960937119999997,-12.7228975,-29.961417529999999,-21.268388279999996]
[null,7.45,6.8253921550000003,579.57571423690638,32.107289610000002,5.9012862752224544,386.49427890206897,54.619297699999997,-13.74110334,-33.314272940000002,-22.512008089999995]
[null,7.45,6.6455380179999999,543.33105645841204,36.393600970000001,5.6351697623639883,335.85676231072307,60.567136560000002,-15.45091364,-38.185612929999998,-24.17353559]
[null,7.45,6.4901804009999999,496.08046450315931,41.989802390000001,5.3823381115921807,290.3826460701946,65.911306800000006,-17.3911202,-41.464607690000001,-23.921504410000004]
[null,7.45,6.3184917706666699,436.92753525765357,48.979757136594841,5.1339432047911,241.43041588738549,71.657922786666703,-19.1777292533333,-44.743602449999997,-22.678165650071861]
[null,7.45,6.1508858936666702,371.96017553948894,56.660884182641979,4.8955986105532006,193.33523865855125,77.303927336666703,-21.002737683333301,-48.022597210000001,-20.643043154024724]
[null,7.45,5.9832800166666704,298.2439617743637,65.374873652835134,4.7795433703283718,145.24006142971689,82.949931886666704,-21,-51.301591969999997,-17.57505823383157]
[]
[null,6.15,6.1695188410000004,852.2850399935412,0,6.1695188410000004,852.2850399935412,0,0,0,0]
[null,6.15,6.1576967329999999,831.96638440121319,2.3927343520000002,6.1213456784611999,840.8351017899987,1.342487848,-0.60016789380000002,1.0659946789999999,1.0502465040000002]
[null,6.15,6.0851536460000002,801.65768185751097,5.9631475199999997,5.9123226536870535,781.34844716873624,8.3212544959999999,-2.8658831839999999,-2.5334048619999998,{"$f":"E22-H22","v":-2.3581069760000002}]
[null,6.15,6.0224035520000001,779.36153266275119,8.5912392277771712,5.8219329488737275,719.10072872960825,15.625089382999999,-3.3676360709999997,-7.7320731659999993,-7.0338501552228276]
[null,6.15,5.959653458,754.40279616264172,11.533716800000001,5.732334215091762,656.85292094839951,22.92892427,-3.869388958,-12.930741469999999,-11.395207469999999]
[null,6.15,5.8575843069999998,708.79957253209295,16.908602309999999,5.4447132582900597,583.59305900141112,31.522858400000001,-7.1346763480000002,-17.664586490000001,-14.614256090000001]
[null,6.15,5.7505655449999997,664.11426891350982,22.18012109,5.1066832271885971,526.33671664524911,38.241790479999999,-11.316041370000001,-20.746061139999998,-16.061669389999999]
[null,6.15,5.6433967899999997,620.04310463107413,27.381819589999999,4.8533278048513937,472.07190347386791,44.610001449999999,-14.15810061,-23.864663610000001,-17.228181859999999]
[null,6.15,5.5324609430000002,575.7639607525208,32.609943600000001,4.609730804198124,421.99046435608284,50.487318399999999,-16.882066040000002,-26.707732140000001,-17.877374799999998]
[null,6.15,5.4344053060000004,537.91161233710613,37.079235220000001,4.414112490814782,377.02660299745907,55.763024299999998,-19.023125400000001,-29.909190590000001,-18.683789079999997]
[null,6.15,5.3079762410000004,495.29426505190213,42.123392920000001,4.2306966611257213,331.66037226106749,61.09184277,-20.608208279999999,-33.037711989999998,-18.968449849999999]
[null,6.15,5.2004627946666702,455.77168246336174,46.792008759133161,4.0467799645452995,290.71461444484987,65.894788173003064,-22.563942146666701,-36.21485809,-19.102779413869904]
[null,6.15,5.0882204436666703,415.4408732591429,51.558523428475347,3.868851973146739,251.84088877750361,70.4549994772064,-24.427013266666702,-39.379848015,-18.896476048731053]
[null,6.15,4.9759780926666703,375.11078704662225,56.326704207485932,3.8393637816571919,215.52051060217829,74.715740558589133,-23.427013266666702,-42.544837940000001,-18.389036351103201]
[null,6.15,4.8637357416666704,334.78142382579966,61.096552014640494,3.8090725476003686,181.75341127103056,78.677011460735912,-22.427013266666702,-45.709827865000001,-17.580459446095418]
[]
[null,5,5.0175841080000003,852.13813985011154,0,5.0175841080000003,852.13813985011154,0,0,0,0]
[null,5,5.0059856590000003,831.54449872184045,2.4248923900000001,4.9432654595505028,837.11538503510383,1.7608314039999999,-1.2633196289999999,0.66994446139999997,0.66406098600000019]
[null,5,4.9672711830000003,801.75743180383472,5.9369816660000003,4.7014052439753469,764.25113828681435,10.31238639,-5.3786023360000002,-4.6780100850000004,-4.375404724]
[null,5,4.9170982085000006,779.22715760208689,8.5913689679272842,4.5550579397759323,710.16186553282944,16.65791583,-7.4020997744999999,-8.8633065974999994,-8.0665468620727161]
[null,5,4.866925234,754.53099576841657,11.501843239999999,4.4108334336347559,656.07524078866504,23.00344527,-9.4255972129999996,-13.04860311,-11.501602030000001]
[null,5,4.7826930269999997,708.95638479759066,16.877971769999998,4.2309885811560584,590.05690936820315,30.75109162,-11.621438510000001,-16.771056439999999,-13.873119850000002]
[null,5,4.698541928,664.91875256168998,22.07585723,4.0545648554157179,534.86001122551158,37.229788990000003,-13.82701492,-19.56009525,-15.153931760000003]
[null,5,4.6171982500000004,621.324880983056,27.221710000000002,3.8711211597776538,484.36714199272268,43.155502419999998,-16.318860470000001,-22.042854420000001,-15.933792419999996]
[null,5,4.5260870349999998,576.30258304710935,32.541043250000001,3.790739628178152,434.14560447414453,49.052396620000003,-16.45859827,-24.667072950000001,-16.511353370000002]
[null,5,4.449314824,537.23473607839776,37.157711589999998,3.6952889072993735,395.20820241591139,53.623215449999996,-17.21179175,-26.436587979999999,-16.465503859999998]
[null,5,4.3625008080000001,497.60192404528578,41.840166170000003,3.6141940151771834,357.15018929281609,58.089632100000003,-17.48242445,-28.225721799999999,-16.24946593]
[null,5,4.2621573489999998,455.64992060182817,46.801013169999997,3.4619899022409877,318.53255288959753,62.62229842,-19.18171873,-30.09270089,-15.821285250000003]
[null,5,4.1409907969999997,413.42327334332867,51.804318170000002,3.3174549623534064,279.7518823176855,67.178143079999998,-20.398024270000001,-32.332817149999997,-15.373824909999996]
[null,5,4.0337063070000001,371.26435395986999,56.790883174556292,3.2369498074428402,243.83092629264706,71.391916245684612,-20.398024270000001,-34.324175296666702,-14.60103307112832]
[null,5,3.9229513014999999,329.04799536061535,61.786937550001689,3.1549553292380281,209.34782716450798,75.437220880469198,-20.398024270000001,-36.377722971666699,-13.650283330467509]
[]
[null,4,4.0094008580000002,851.97410494001178,0,4.0094008580000002,851.97410494001178,0,0,0,0]
[null,4,3.996081845,831.4081720593631,2.4184732800000002,3.9171104640562198,829.54823457436555,2.626538262,-1.986522635,-0.22370930999999999,-0.20806498199999979]
[null,4,3.9566346370000001,800.77131754502614,6.0322673529999999,3.4657090883295929,744.26508968325993,12.63863134,-12.43216454,-7.0564750040000002,-6.6063639869999999]
[null,4,3.9288980924999999,777.94884973094031,8.7215225139398154,3.3567804055154871,700.38265202535956,17.787468564999998,-14.598230130000001,-9.9706038170000006,-9.0659460510601821]
[null,4,3.9011615480000001,753.60201213858988,11.591246310000001,3.249105963573649,656.50240778023237,22.936305789999999,-16.76429572,-12.88473263,-11.345059479999998]
[null,4,3.8453592369999998,707.92031974388772,16.981487009999999,3.2474359118472251,593.78423698535551,30.298974470000001,-15.63083733,-16.122730140000002,-13.317487460000002]
[null,4,3.778071867,664.17111284521707,22.145836110000001,3.1544561110879585,541.29861845282187,36.4604377,-16.62250624,-18.500126250000001,-14.314601589999999]
[null,4,3.7247906249999998,621.43111230310967,27.192821540000001,3.1104301383683883,491.39280303366053,42.319424699999999,-16.65126704,-20.925619380000001,-15.126603159999998]
[null,4,3.6763575949999998,578.5889074168897,32.253074339999998,2.9976729271655405,443.76813277426163,47.910747970000003,-18.66190868,-23.30165216,-15.657673630000005]
[null,4,3.6196716480000002,535.42385645830859,37.3528521,2.9541107194082405,401.06555950204341,52.923914510000003,-18.646506859999999,-25.093819660000001,-15.571062410000003]
[null,4,3.556951363,496.04159068875362,42.006504499999998,2.9208428265382205,365.33981988928485,57.11668873,-18.210010279999999,-26.34895405,-15.110184230000002]
[null,4,3.4929994139999998,461.4286432056856,46.103998169999997,2.8608284970871605,334.4340988283073,60.747744060000002,-18.493688639999998,-27.522033199999999,-14.643745890000005]
[null,4,3.3945428820000001,413.73431944601208,51.743231350000002,2.7830828657156581,292.45669795519092,65.672155259999997,-18.530216289999998,-29.312922759999999,-13.928923909999995]
[null,4,3.31908940533333,374.67884576533044,56.365389410077327,2.7186635331323545,259.68264405121062,69.51900207495045,-18.731511080000001,-30.6919387133333,-13.153612664873123]
[null,4,3.23788516483333,333.44311835471291,61.247273482399144,2.6524054858655646,226.16138597861598,73.45323054145473,-18.891614085000001,-32.173923068333302,-12.205957059055585]
[]
[null,3.1996424179999998,3.1996424179999998,851.69957147268485,0,3.1996424179999998,851.69957147268485,0,0,0,{"$f":"E68-H68","v":0}]
[null,3.1996424179999998,3.1837218709999999,833.04190257723258,2.201493218,3.0727712207392157,824.72261275552785,3.168099921,-3.4949742420000001,-0.99866402830000001,-0.96660670300000007]
[null,3.1996424179999998,3.1498245279999999,804.70485673202666,5.5439957570000002,2.5830692390915413,751.73975155371784,11.736519899999999,-18.016000080000001,-6.5819293539999997,-6.1925241429999991]
[null,3.1996424179999998,3.1248087739999999,782.53978343866947,8.1593828869460694,2.5225547031819775,713.61175675400068,16.213042335000001,-19.307886610000001,-8.808245681999999,-8.0536594480539314]
[null,3.1996424179999998,3.0997930199999999,759.26554646005764,10.906137490000001,2.4627235525532911,675.48391891535721,20.68956477,-20.59977314,-11.03456201,-9.7834272799999997]
[null,3.1996424179999998,3.0555511360000001,714.93963891239741,16.134213970000001,2.488424825084901,615.20789842362854,27.76283334,-18.63987384,-13.94967282,-11.628619369999999]
[null,3.1996424179999998,3.0038489940000002,673.03985624185907,21.083083989999999,2.4657243589829667,564.1632551682759,33.756890079999998,-18.029075290000002,-16.176843030000001,-12.673806089999999]
[null,3.1996424179999998,2.9687383810000001,630.66961676686003,26.09083686,2.4192292696335969,514.28517522383413,39.61594161,-18.66393004,-18.45410631,-13.525104750000001]
[null,3.1996424179999998,2.925645845,588.64141890565713,31.059069619999999,2.4087789059440614,466.50590847991026,45.22802102,-17.870302160000001,-20.748711610000001,-14.168951400000001]
[null,3.1996424179999998,2.8818753090000002,547.43595390988025,35.929121680000002,2.3841810169044209,423.09750966480999,50.324453839999997,-17.531286720000001,-22.712875059999998,-14.395332159999995]
[null,3.1996424179999998,2.8316733049999998,504.5765763037673,40.995208939999998,2.3787369542160204,383.44944832761382,54.978965459999998,-16.332631289999998,-24.005697779999998,-13.98375652]
[null,3.1996424179999998,2.7728474909999998,464.53355406363227,45.74099125,2.3363717980272836,345.98365382369462,59.383783569999999,-16.164713290000002,-25.520201759999999,-13.642792319999998]
[null,3.1996424179999998,2.7138186960000001,427.41992258640522,50.135636529999999,2.292058664047675,313.38365666774052,63.211550359999997,-16.064578650000001,-26.680147529999999,-13.075913829999998]
[null,3.1996424179999998,2.6549252216666699,388.23285140709311,54.775144623483861,2.2495768521627841,279.23078905505406,67.220660428958411,-15.919255103333301,-28.07646544,-12.44551580547455]
[null,3.1996424179999998,2.5959979171666698,349.53791656081751,59.358087958533055,2.207272517739439,246.72591625011552,71.036039137733724,-15.7852287833333,-29.413690315,-11.677951179200669]
[]
[null,2.5,2.5533960590000002,851.46072574433379,0,2.5533960590000002,851.46072574433379,0,0,0,0]
[null,2.5,2.5430928599999998,833.68099594786509,2.09747087,2.3734301425868614,818.83275087383981,3.8321209970000001,-6.6802833220000002,-1.7810463649999999,-1.7346501270000001]
[null,2.5,2.527536918,806.72561867165689,5.2774840879999996,2.1100871167903383,760.74895278596853,10.65365987,-16.53683491,-5.6991701790000002,-5.3761757820000007]
[null,2.5,2.5143366600000001,784.60407635611659,7.8875563226558061,2.0956067743464892,726.01839011212985,14.732444045000001,-16.686013299999999,-7.4669107654999998,-6.8448877223441951]
[null,2.5,2.5011364020000002,761.62099775673084,10.59963187,2.0811987291135985,691.28795399027297,18.81122822,-16.835191689999998,-9.2346513520000002,-8.2115963500000007]
[null,2.5,2.4484213389999998,722.72595000927947,15.192363179999999,2.0805818815259878,640.40130501585872,24.787365569999999,-15.097324370000001,-11.39085223,-9.5950023899999994]
[null,2.5,2.4162377099999999,661.55409816672591,22.417850609999999,2.0105008195281591,564.381062704942,33.717985759999998,-16.912101450000002,-14.68860003,-11.300135149999999]
[null,2.5,2.3939936639999999,618.32414633052167,27.526453440000001,1.994629076136742,513.07725116562756,39.745589180000003,-16.843467449999999,-17.021314109999999,-12.219135740000002]
[null,2.5,2.367548046,576.04660524809844,32.524172749999998,2.0006566344685544,466.79351329563599,45.183674459999999,-15.709380550000001,-18.966016110000002,-12.659501710000001]
[null,2.5,2.336780064,533.81320366325053,37.518156400000002,1.9933173110291014,424.3631359800936,50.168916340000003,-14.97229802,-20.503439579999998,-12.65075994]
[null,2.5,2.3016370849999999,493.40713073430123,42.298695700000003,1.9958272907801982,385.23218567874773,54.765898550000003,-13.63795534,-21.92407412,-12.46720285]
[null,2.5,2.2588839950000001,451.68176151944215,47.236367229999999,1.9643989348601603,347.42853934243203,59.206236160000003,-13.48137489,-23.081122830000002,-11.969868930000004]
[null,2.5,2.2302697519999999,430.54791088674813,49.726494969999997,1.9678328649871017,328.99146305948136,61.362752309999998,-12.27428016,-23.58772282,-11.63625734]
[]
[null,2,1.968237134,851.37133692494137,0,1.968237134,851.37133692494137,0,0,0,{"$f":"E98-H98","v":0}]
[null,2,1.9444450559999999,829.38897182795438,2.5932662309999999,1.7894366771102934,810.2520595392898,4.8290039980000001,-7.9832452490000003,-2.3073507050000002,-2.2357377670000003]
[null,2,1.9272098550000001,800.98101555891526,5.9501497130000001,1.747750636881614,765.442240900819,10.09598776,-9.3391684329999993,-4.4369059899999996,-4.1458380469999998]
[null,2,1.9066569229999999,752.73725256995931,11.650316630000001,1.7172764585000839,703.19446126601531,17.412049329999999,-9.9905721310000004,-6.5816845300000004,-5.7617326999999978]
[null,2,1.8878764450000001,706.21719801969414,17.156445130000002,1.6505443238920872,648.27919892487944,23.8741865,-12.6618073,-8.2039915279999995,-6.7177413699999988]
[null,2,1.8708278650000001,660.06774097527284,22.625998119999998,1.5936533615083324,596.34264736807165,29.991738120000001,-14.94239338,-9.6543263140000004,-7.3657400000000024]
[null,2,1.8526676200000001,613.97089668688432,28.079382819999999,1.5497234494830792,544.98118362985622,36.031179600000002,-16.521338060000001,-11.236642229999999,-7.9517967800000022]
[null,2,1.830672767,573.11857819857642,32.926234059999999,1.5450397052393101,502.41888525415504,41.046371870000002,-15.82317405,-12.33596251,-8.1201378100000028]
[null,2,1.81345227,530.64399377466418,37.965145659999997,1.5677052314862407,454.28738791100483,46.713736269999998,-13.839898460000001,-14.38942243,-8.7485906100000008]
[null,2,1.791963202,490.65656940216229,42.720210450000003,1.5834280925478397,414.07493247997411,51.458402069999998,-12.00501424,-15.607991760000001,-8.7381916199999949]
[null,2,1.7757629020000001,447.48799768655704,47.832926149999999,1.6512278698103151,371.80520684766839,56.429693710000002,-7.495689273,-16.912809110000001,-8.5967675600000035]
[null,2,1.752250973,410.27242280164421,52.254290699999999,1.6099584086886642,336.80939720912784,60.551795579999997,-8.7070311710000006,-17.905913609999999,-8.2975048799999982]
[null,2,1.73361346333333,368.82138652431178,57.14289312003261,1.6407627287819964,298.35132345463256,65.055092526955988,-6.1045951589999996,-19.106826676666699,-7.9121994069233779]
[null,2,1.71375734883333,328.36043659559186,61.918276654277506,1.6536542376293222,261.84844399088331,69.330554524544084,-4.4556036245000001,-20.2557876016667,-7.4122778702665784]
[]
[null,1.75,1.7283886589999999,856.40724969218434,0,1.7283886589999999,856.40724969218434,0,0,0,0]
[null,1.75,1.716550499,837.97694104328275,2.1720825449999999,1.5955432719775282,825.38479121039745,3.631175845,-7.0600049360000003,-1.502684527,-1.4590933000000001]
[null,1.75,1.7032302539999999,815.02341210876557,4.874750648,1.6159563467869578,792.47974052402503,7.4812651109999999,-5.149315659,-2.7660152149999999,-2.6065144629999999]
[null,1.75,1.681718375,773.97633908249441,9.6966575949999996,1.5562314110958875,742.05403355276076,13.371907930000001,-7.5144616109999998,-4.1244549629999998,-3.6752503350000012]
[null,1.75,1.660389479,733.15506964566089,14.49046029,1.5048456455693477,697.68358031138507,18.553027499999999,-9.4508732500000008,-4.838197375,-4.0625672099999992]
[null,1.75,1.638313543,690.80744980320503,19.466575710000001,1.4282918176632129,652.3015228040382,23.854451569999998,-12.93513046,-5.5740462859999997,-4.3878758599999976]
[null,1.75,1.6180184989999999,648.56900420753243,24.428320899999999,1.355844190141025,606.59331648903469,29.191701699999999,-16.354487259999999,-6.4720465279999999,-4.7633808000000002]
[null,1.75,1.596332979,608.66263020494034,29.111955510000001,1.3182858213939617,565.10187404844714,34.030729190000002,-17.611325310000002,-7.1567981989999998,-4.918773680000001]
[null,1.75,1.579087694,568.73595144236776,33.803254410000001,1.3789872485740979,521.98596714869041,39.065260619999997,-12.92894076,-8.219980498,-5.2620062099999956]
[null,1.75,1.559870154,523.56782952297931,39.099100489999998,1.404790783926964,476.41943859443637,44.376090640000001,-10.277385819999999,-9.0052116019999993,-5.2769901500000032]
[null,1.75,1.526032606,483.46648832345534,43.798663560000001,1.3481710671716645,433.94510246498521,49.319439709999997,-12.066402719999999,-10.242982100000001,-5.5207761499999961]
[null,1.75,1.493213208,437.85109722436238,49.23036887,1.3553340176913062,395.51513978873635,53.872437249999997,-9.7588365489999997,-9.6690307969999996,-4.6420683799999978]
[]
[null,1.4999575199999999,1.4999575199999999,855.69021528597523,0,1.4999575199999999,855.69021528597523,0,0,0,0]
[null,1.4999575199999999,1.4836573500000001,837.33889233964067,2.1651439770000001,1.3772243367894144,826.626348035207,3.4035742939999998,-7.1864017779999996,-1.2793558739999999,-1.2384303169999997]
[null,1.4999575199999999,1.466002196,812.74968717915431,5.0607215300000004,1.3803048722138698,796.71557116705719,6.902690851,-5.8770148390000001,-1.9728234,-1.8419693209999997]
[null,1.4999575199999999,1.438125984,769.63921555127627,10.13918853,1.3033879549515162,750.27277299530431,12.337283190000001,-9.43421032,-2.5163014260000001,-2.1980946600000006]
[null,1.4999575199999999,1.4182796849999999,729.0604060538526,14.919909929999999,1.2615948385696787,711.29197493015943,16.89936196,-11.14824718,-2.437168577,-1.9794520300000009]
[null,1.4999575199999999,1.3895266289999999,685.31787578022863,20.070031060000002,1.1997366848552586,671.28364169499309,21.577584999999999,-13.80094579,-2.047842991,-1.5075539399999975]
[null,1.4999575199999999,1.363256164,641.99310366293423,25.171666200000001,1.1345579391320064,628.84158251296026,26.53978678,-16.962552949999999,-2.048545549,-1.3681205799999994]
[null,1.4999575199999999,1.3311677740000001,596.62392404239199,30.519264100000001,1.0852431083514729,585.42000871388598,31.620230100000001,-18.717338890000001,-1.8778856960000001,-1.1009659999999997]
[null,1.4999575199999999,1.3219389589999999,556.1918050047459,35.282665440000002,1.157620261797967,544.50253106719435,36.406863880000003,-12.755026669999999,-2.1016623820000002,-1.1241984400000007]
[null,1.4999575199999999,1.2992078730000001,512.9282005049796,40.382226619999997,1.2087813436257766,501.58246990403717,41.425382749999997,-7.3978287030000001,-2.2119529770000002,-1.0431561299999998]
[null,1.4999575199999999,1.268513282,466.42507041915235,45.858955260000002,1.187136356636312,456.3150315704919,46.715094379999996,-6.9725948149999999,-2.1675590549999999,-0.85613911999999459]
[null,1.4999575199999999,1.231420698,419.10150297893665,51.458943609999999,1.2129908510725154,416.66385213924252,51.377051710000003,-2.234501952,-0.58163734140000001,8.1891899999995132E-2]